## Slide 2
Honeywell HSCDRRN010MDAA3 Pinouts and Calibration
Pin 1: No Connection
Pin 2: (3 Volt Supply)
Pin 3:
Pin 4: Ground
Pin 5-8: N/C
Calibration Curve
Sensor Range is +/- 10 millibar
(+/- 1,000 Pascals)

## Slide 3
Honeywell SSCDRRNxxxKDAA3 Pinouts and Calibration
Pin 1: No Connection
Pin 2: (3 Volt Supply)
Pin 3:
Pin 4: Ground
Pin 5-8: N/C
Calibration Curve
Sensor Range

## Slide 4
Honeywell ASDXRRxxxPGAA3 Pinouts and Calibration
Pin 1: (3 Volt Supply)
Pin 2:
Pin 3: Ground
Pin 4-8: N/C
Calibration Curve
1 2 3 4
8 7 6 5
Sensor Range

## Slide 5
Honeywell HSCDLNN001PDAA3 Pinouts and Calibration
Pin 1: N/C
Pin 2: (3 Volt Supply)
Pin 3:
Pin 4: Ground
Pin 5-8: N/C
Calibration Curve
Sensor Range: +/- 1 PSI
(+/- 6894.76 Pascals)