## Slide 2
Voltage/Current Display
Switch for Voltage or Current
Adjust Current Limit
Power Button
V- (Black)
Ground (Green)
+V (Red)
Adjust Voltage Limit
Fixed 5V Output
Mode Indicator LEDs
CH. 2
CH. 1

## Slide 3
Jumpered horizontal pins
+V and –V supply rails (connected vertically)

## Slide 4
Fluke 73
Mode Selector
DC Current
Ac Current
Current Terminal (Amps)
Current Terminal (mA)
AC Voltage
DC Voltage
DC Voltage (mV)
Resistance
Diode Test
Voltage, Resistance, Diode Test Terminal
Common Terminal (Always Used)

## Slide 5
Keithley Digital Multimeter
Voltage and Resistance Test Terminal
Common Terminal (Always Used)
Current Terminal (Amps)
Power Switch
Mode/Option Selection Keys

## Slide 6
Power Switch
Menu Keys for Displayed Options
Y-Axis Scale Adjustment
X-Axis Scale (Time) Adjustment
Shift Signal Position Up/Down
Menu Key for Measuring Signals
Change triggering level
Auto-Scale X and Y
CH. 1 Input
CH. 2 Input

## Slide 7
Source Type
CH 1 PK-PK 10V
CH 1 Freq. 10Hz
CH 2 PK-PK 200mV
CH 2 Freq. ?
1
2
Measure
T Trig’d
Tek
CH 1 5.00V
CH 2 5.00V
M 25.0ms
CH 1 2.50V
Measurement 1
2
3
4
Time (X Axis) Divisions
CH 1 Y Axis Divisions
CH 2 Y Axis Divisions
Channel Indicator